## Results
Block Type | 384-Well Block
Calibration Background is expired | No
Calibration Background performed on | 2019-05-07 07:46:29 AM CEST
Calibration FAM is expired | No
Calibration FAM performed on | 2019-05-07 08:39:11 AM CEST
Calibration NED is expired | No
Calibration NED performed on | 2019-05-07 08:31:59 AM CEST
Calibration ROI is expired | No
Calibration ROI performed on | 2019-05-07 07:39:38 AM CEST
Calibration ROX is expired | No
Calibration ROX performed on | 2019-05-07 08:09:24 AM CEST
Calibration SYBR is expired | No
Calibration SYBR performed on | 2019-05-07 08:24:13 AM CEST
Calibration TAMRA is expired | No
Calibration TAMRA performed on | 2019-05-07 08:01:52 AM CEST
Calibration Uniformity is expired | No
Calibration Uniformity performed on | 2019-05-07 07:53:57 AM CEST
Calibration VIC is expired | No
Calibration VIC performed on | 2019-05-07 08:16:55 AM CEST
Chemistry | SYBR_GREEN
Experiment Barcode
Experiment Comments
Experiment File Name | D:\Experiments\Jonathan\2019-09-27 113513.eds
Experiment Name | 2019-09-27 113513
Experiment Run End Time | 2019-09-27 13:12:49 PM CEST
Experiment Type | Comparative Cт (ΔΔCт)
Experiment User Name
Instrument Name | 278881499
Instrument Serial Number | 278881499
Instrument Type | ViiA 7
Passive Reference | ROX
Quantification Cycle Method | Ct
Signal Smoothing On | true
Stage/ Cycle where Analysis is performed | Stage 2, Step 2
Well | Well Position | Omit | Sample Name | Target Name | Task | Reporter | Quencher | Quantity | Quantity Mean | Quantity SD | RQ | RQ Min | RQ Max | CT | Ct Mean | Ct SD | Delta Ct | Delta Ct Mean | Delta Ct SE | Delta Delta Ct | Automatic Ct Threshold | Tm1 | Ct Threshold | Tm2 | Automatic Baseline | Tm3 | Baseline Start | Baseline End | Comments | Custom1 | Custom2 | Custom3 | Custom4 | Custom5 | Custom6 | HIGHSD | NOAMP | EXPFAIL | THOLDFAIL | PRFDROP | MTP
1 | A1 | FALSE | 1 | GENE1 | UNKNOWN | SYBR | None | [6 empty] | 35
2 | A2 | FALSE | 1 | GENE1 | UNKNOWN | SYBR | None | [6 empty] | 36
3 | A3 | FALSE | 1 | GENE1 | UNKNOWN | SYBR | None | [6 empty] | 35.5
4 | A4 | FALSE | 2 | GENE1 | UNKNOWN | SYBR | None | [6 empty] | 34
5 | A5 | FALSE | 2 | GENE1 | UNKNOWN | SYBR | None | [6 empty] | Undetermined
6 | A6 | FALSE | 2 | GENE1 | UNKNOWN | SYBR | None | [6 empty] | 34.3344
7 | A7 | FALSE | 3 | GENE1 | UNKNOWN | SYBR | None | [6 empty] | 38.5105
8 | A8 | FALSE | 3 | GENE1 | UNKNOWN | SYBR | None | [6 empty] | Undetermined
9 | A9 | FALSE | 3 | GENE1 | UNKNOWN | SYBR | None | [6 empty] | 35.1626
10 | A10 | FALSE | 4 | GENE1 | UNKNOWN | SYBR | None | [6 empty] | 32.0403
11 | A11 | FALSE | 4 | GENE1 | UNKNOWN | SYBR | None | [6 empty] | 28.0436
12 | A12 | FALSE | 4 | GENE1 | UNKNOWN | SYBR | None | [6 empty] | 30
13 | A13 | FALSE | 5 | GENE1 | UNKNOWN | SYBR | None | [6 empty] | 29
14 | A14 | FALSE | 5 | GENE1 | UNKNOWN | SYBR | None | [6 empty] | 28
15 | A15 | FALSE | 5 | GENE1 | UNKNOWN | SYBR | None | [6 empty] | 32
16 | A16 | FALSE | 6 | GENE1 | UNKNOWN | SYBR | None | [6 empty] | 30
17 | A17 | FALSE | 6 | GENE1 | UNKNOWN | SYBR | None | [6 empty] | 31
18 | A18 | FALSE | 6 | GENE1 | UNKNOWN | SYBR | None | [6 empty] | 32.9263
19 | A19 | FALSE | 7 | GENE1 | UNKNOWN | SYBR | None | [6 empty] | 25
20 | A20 | FALSE | 7 | GENE1 | UNKNOWN | SYBR | None | [6 empty] | 24
21 | A21 | FALSE | 7 | GENE1 | UNKNOWN | SYBR | None | [6 empty] | 27
22 | A22 | FALSE | 8 | GENE1 | UNKNOWN | SYBR | None | [6 empty] | 24
23 | A23 | FALSE | 8 | GENE1 | UNKNOWN | SYBR | None | [6 empty] | 23
25 | A24 | FALSE | 8 | GENE1 | UNKNOWN | SYBR | None | [6 empty] | 22
26 | B1 | FALSE | 9 | GENE1 | UNKNOWN | SYBR | None | [6 empty] | 24
27 | B2 | FALSE | 9 | GENE1 | UNKNOWN | SYBR | None | [6 empty] | 25
28 | B3 | FALSE | 9 | GENE1 | UNKNOWN | SYBR | None | [6 empty] | 26
29 | B4 | FALSE | 1 | GENE2 | UNKNOWN | SYBR | None | [6 empty] | Undetermined
30 | B5 | FALSE | 1 | GENE2 | UNKNOWN | SYBR | None | [6 empty] | Undetermined
31 | B6 | FALSE | 1 | GENE2 | UNKNOWN | SYBR | None | [6 empty] | Undetermined
32 | B7 | FALSE | 2 | GENE2 | UNKNOWN | SYBR | None | [6 empty] | 39
33 | B8 | FALSE | 2 | GENE2 | UNKNOWN | SYBR | None | [6 empty] | Undetermined
34 | B9 | FALSE | 2 | GENE2 | UNKNOWN | SYBR | None | [6 empty] | 39.3344
35 | B10 | FALSE | 3 | GENE2 | UNKNOWN | SYBR | None | [6 empty] | 38
36 | B11 | FALSE | 3 | GENE2 | UNKNOWN | SYBR | None | [6 empty] | Undetermined
37 | B12 | FALSE | 3 | GENE2 | UNKNOWN | SYBR | None | [6 empty] | 39
38 | B13 | FALSE | 4 | GENE2 | UNKNOWN | SYBR | None | [6 empty] | 37.0403
39 | B14 | FALSE | 4 | GENE2 | UNKNOWN | SYBR | None | [6 empty] | 33.0436
40 | B15 | FALSE | 4 | GENE2 | UNKNOWN | SYBR | None | [6 empty] | 35
41 | B16 | FALSE | 5 | GENE2 | UNKNOWN | SYBR | None | [6 empty] | 34
42 | B17 | FALSE | 5 | GENE2 | UNKNOWN | SYBR | None | [6 empty] | 33
43 | B18 | FALSE | 5 | GENE2 | UNKNOWN | SYBR | None | [6 empty] | 37
44 | B19 | FALSE | 6 | GENE2 | UNKNOWN | SYBR | None | [6 empty] | 35
45 | B20 | FALSE | 6 | GENE2 | UNKNOWN | SYBR | None | [6 empty] | 36
46 | B21 | FALSE | 6 | GENE2 | UNKNOWN | SYBR | None | [6 empty] | 37.9263
47 | B22 | FALSE | 7 | GENE2 | UNKNOWN | SYBR | None | [6 empty] | 30
49 | B23 | FALSE | 7 | GENE2 | UNKNOWN | SYBR | None | [6 empty] | 29
50 | B24 | FALSE | 7 | GENE2 | UNKNOWN | SYBR | None | [6 empty] | 32
51 | C1 | FALSE | 8 | GENE2 | UNKNOWN | SYBR | None | [6 empty] | 29
52 | C2 | FALSE | 8 | GENE2 | UNKNOWN | SYBR | None | [6 empty] | 28
53 | C3 | FALSE | 8 | GENE2 | UNKNOWN | SYBR | None | [6 empty] | 27
54 | C4 | FALSE | 9 | GENE2 | UNKNOWN | SYBR | None | [6 empty] | 29
55 | C5 | FALSE | 9 | GENE2 | UNKNOWN | SYBR | None | [6 empty] | 30
56 | C6 | FALSE | 9 | GENE2 | UNKNOWN | SYBR | None | [6 empty] | 31
57 | C7 | FALSE | 1 | GENE3 | UNKNOWN | SYBR | None | [6 empty] | 31
58 | C8 | FALSE | 1 | GENE3 | UNKNOWN | SYBR | None | [6 empty] | 32
59 | C9 | FALSE | 1 | GENE3 | UNKNOWN | SYBR | None | [6 empty] | 33
60 | C10 | FALSE | 2 | GENE3 | UNKNOWN | SYBR | None | [6 empty] | 34
61 | C11 | FALSE | 2 | GENE3 | UNKNOWN | SYBR | None | [6 empty] | 34
62 | C12 | FALSE | 2 | GENE3 | UNKNOWN | SYBR | None | [6 empty] | 34.3344
63 | C13 | FALSE | 3 | GENE3 | UNKNOWN | SYBR | None | [6 empty] | 33
64 | C14 | FALSE | 3 | GENE3 | UNKNOWN | SYBR | None | [6 empty] | 33
65 | C15 | FALSE | 3 | GENE3 | UNKNOWN | SYBR | None | [6 empty] | 34
66 | C16 | FALSE | 4 | GENE3 | UNKNOWN | SYBR | None | [6 empty] | 32.0403
67 | C17 | FALSE | 4 | GENE3 | UNKNOWN | SYBR | None | [6 empty] | 28.0436
68 | C18 | FALSE | 4 | GENE3 | UNKNOWN | SYBR | None | [6 empty] | 30
69 | C19 | FALSE | 5 | GENE3 | UNKNOWN | SYBR | None | [6 empty] | 29
70 | C20 | FALSE | 5 | GENE3 | UNKNOWN | SYBR | None | [6 empty] | 28
71 | C21 | FALSE | 5 | GENE3 | UNKNOWN | SYBR | None | [6 empty] | 32
73 | C22 | FALSE | 6 | GENE3 | UNKNOWN | SYBR | None | [6 empty] | 30
74 | C23 | FALSE | 6 | GENE3 | UNKNOWN | SYBR | None | [6 empty] | 31
75 | C24 | FALSE | 6 | GENE3 | UNKNOWN | SYBR | None | [6 empty] | 32.9263
76 | D1 | FALSE | 7 | GENE3 | UNKNOWN | SYBR | None | [6 empty] | 25
77 | D2 | FALSE | 7 | GENE3 | UNKNOWN | SYBR | None | [6 empty] | 24
78 | D3 | FALSE | 7 | GENE3 | UNKNOWN | SYBR | None | [6 empty] | 27
79 | D4 | FALSE | 8 | GENE3 | UNKNOWN | SYBR | None | [6 empty] | 24
80 | D5 | FALSE | 8 | GENE3 | UNKNOWN | SYBR | None | [6 empty] | 23
81 | D6 | FALSE | 8 | GENE3 | UNKNOWN | SYBR | None | [6 empty] | 22
82 | D7 | FALSE | 9 | GENE3 | UNKNOWN | SYBR | None | [6 empty] | 24
83 | D8 | FALSE | 9 | GENE3 | UNKNOWN | SYBR | None | [6 empty] | 25
84 | D9 | FALSE | 9 | GENE3 | UNKNOWN | SYBR | None | [6 empty] | 26
85 | D10 | FALSE | 1 | GENE4 | UNKNOWN | SYBR | None | [6 empty] | 22.4171
86 | D11 | FALSE | 1 | GENE4 | UNKNOWN | SYBR | None | [6 empty] | 21.7239
87 | D12 | FALSE | 1 | GENE4 | UNKNOWN | SYBR | None | [6 empty] | 18.6254
88 | D13 | FALSE | 2 | GENE4 | UNKNOWN | SYBR | None | [6 empty] | 20.7297
89 | D14 | FALSE | 2 | GENE4 | UNKNOWN | SYBR | None | [6 empty] | 25.8926
90 | D15 | FALSE | 2 | GENE4 | UNKNOWN | SYBR | None | [6 empty] | 22.5698
91 | D16 | FALSE | 3 | GENE4 | UNKNOWN | SYBR | None | [6 empty] | 21.8403
92 | D17 | FALSE | 3 | GENE4 | UNKNOWN | SYBR | None | [6 empty] | 19.1818
93 | D18 | FALSE | 3 | GENE4 | UNKNOWN | SYBR | None | [6 empty] | 20.877
94 | D19 | FALSE | 4 | GENE4 | UNKNOWN | SYBR | None | [6 empty] | 23.0304
95 | D20 | FALSE | 4 | GENE4 | UNKNOWN | SYBR | None | [6 empty] | 19.0995
97 | D21 | FALSE | 4 | GENE4 | UNKNOWN | SYBR | None | [6 empty] | 22.5698
98 | D22 | FALSE | 5 | GENE4 | UNKNOWN | SYBR | None | [6 empty] | 18.2685
99 | D23 | FALSE | 5 | GENE4 | UNKNOWN | SYBR | None | [6 empty] | 23.4768
100 | D24 | FALSE | 5 | GENE4 | UNKNOWN | SYBR | None | [6 empty] | 23.1582
101 | E1 | FALSE | 6 | GENE4 | UNKNOWN | SYBR | None | [6 empty] | 22.5698
102 | E2 | FALSE | 6 | GENE4 | UNKNOWN | SYBR | None | [6 empty] | 22.3208
103 | E3 | FALSE | 6 | GENE4 | UNKNOWN | SYBR | None | [6 empty] | 17.2513
104 | E4 | FALSE | 7 | GENE4 | UNKNOWN | SYBR | None | [6 empty] | 23.0304
105 | E5 | FALSE | 7 | GENE4 | UNKNOWN | SYBR | None | [6 empty] | 25.4957
106 | E6 | FALSE | 7 | GENE4 | UNKNOWN | SYBR | None | [6 empty] | 21.1638
107 | E7 | FALSE | 8 | GENE4 | UNKNOWN | SYBR | None | [6 empty] | 18.7374
108 | E8 | FALSE | 8 | GENE4 | UNKNOWN | SYBR | None | [6 empty] | 23.0304
109 | E9 | FALSE | 8 | GENE4 | UNKNOWN | SYBR | None | [6 empty] | 20.3433
110 | E10 | FALSE | 9 | GENE4 | UNKNOWN | SYBR | None | [6 empty] | 22.3011
111 | E11 | FALSE | 9 | GENE4 | UNKNOWN | SYBR | None | [6 empty] | 18.0648
112 | E12 | FALSE | 9 | GENE4 | UNKNOWN | SYBR | None | [6 empty] | 20.4078
113 | E13 | FALSE | 1 | GENE5 | UNKNOWN | SYBR | None | [6 empty] | 23.983
114 | E14 | FALSE | 1 | GENE5 | UNKNOWN | SYBR | None | [6 empty] | 22.7779
115 | E15 | FALSE | 1 | GENE5 | UNKNOWN | SYBR | None | [6 empty] | 24.7804
116 | E16 | FALSE | 2 | GENE5 | UNKNOWN | SYBR | None | [6 empty] | 23.5138
117 | E17 | FALSE | 2 | GENE5 | UNKNOWN | SYBR | None | [6 empty] | 21.6573
118 | E18 | FALSE | 2 | GENE5 | UNKNOWN | SYBR | None | [6 empty] | 23.5138
119 | E19 | FALSE | 3 | GENE5 | UNKNOWN | SYBR | None | [6 empty] | 24.7804
121 | E20 | FALSE | 3 | GENE5 | UNKNOWN | SYBR | None | [6 empty] | 22.1191
122 | E21 | FALSE | 3 | GENE5 | UNKNOWN | SYBR | None | [6 empty] | 23.7849
123 | E22 | FALSE | 4 | GENE5 | UNKNOWN | SYBR | None | [6 empty] | 22.3993
124 | E23 | FALSE | 4 | GENE5 | UNKNOWN | SYBR | None | [6 empty] | 22.5031
125 | E24 | FALSE | 4 | GENE5 | UNKNOWN | SYBR | None | [6 empty] | 22.1191
126 | F1 | FALSE | 5 | GENE5 | UNKNOWN | SYBR | None | [6 empty] | 23.5138
127 | F2 | FALSE | 5 | GENE5 | UNKNOWN | SYBR | None | [6 empty] | 21.6573
128 | F3 | FALSE | 5 | GENE5 | UNKNOWN | SYBR | None | [6 empty] | 21.6573
129 | F4 | FALSE | 6 | GENE5 | UNKNOWN | SYBR | None | [6 empty] | 22.3993
130 | F5 | FALSE | 6 | GENE5 | UNKNOWN | SYBR | None | [6 empty] | 22.3993
131 | F6 | FALSE | 6 | GENE5 | UNKNOWN | SYBR | None | [6 empty] | 23.5138
132 | F7 | FALSE | 7 | GENE5 | UNKNOWN | SYBR | None | [6 empty] | 22.3993
133 | F8 | FALSE | 7 | GENE5 | UNKNOWN | SYBR | None | [6 empty] | 20.3692
134 | F9 | FALSE | 7 | GENE5 | UNKNOWN | SYBR | None | [6 empty] | 21.6207
135 | F10 | FALSE | 8 | GENE5 | UNKNOWN | SYBR | None | [6 empty] | 23.144
136 | F11 | FALSE | 8 | GENE5 | UNKNOWN | SYBR | None | [6 empty] | 21.4517
137 | F12 | FALSE | 8 | GENE5 | UNKNOWN | SYBR | None | [6 empty] | 22.5469
138 | F13 | FALSE | 9 | GENE5 | UNKNOWN | SYBR | None | [6 empty] | 22.6969
139 | F14 | FALSE | 9 | GENE5 | UNKNOWN | SYBR | None | [6 empty] | 21.6598
140 | F15 | FALSE | 9 | GENE5 | UNKNOWN | SYBR | None | [6 empty] | 22.3923
141 | F16 | FALSE | 1 | GENE6 | UNKNOWN | SYBR | None | [6 empty] | 21.8244
142 | F17 | FALSE | 1 | GENE6 | UNKNOWN | SYBR | None | [6 empty] | 23.2357
143 | F18 | FALSE | 1 | GENE6 | UNKNOWN | SYBR | None | [6 empty] | 21.6207
145 | F19 | FALSE | 2 | GENE6 | UNKNOWN | SYBR | None | [6 empty] | 21.4517
146 | F20 | FALSE | 2 | GENE6 | UNKNOWN | SYBR | None | [6 empty] | 22.4728
147 | F21 | FALSE | 2 | GENE6 | UNKNOWN | SYBR | None | [6 empty] | 21.8669
148 | F22 | FALSE | 3 | GENE6 | UNKNOWN | SYBR | None | [6 empty] | 23.0436
149 | F23 | FALSE | 3 | GENE6 | UNKNOWN | SYBR | None | [6 empty] | 21.4517
150 | F24 | FALSE | 3 | GENE6 | UNKNOWN | SYBR | None | [6 empty] | 23.5534
151 | G1 | FALSE | 4 | GENE6 | UNKNOWN | SYBR | None | [6 empty] | 21.4517
152 | G2 | FALSE | 4 | GENE6 | UNKNOWN | SYBR | None | [6 empty] | 21.4517
153 | G3 | FALSE | 4 | GENE6 | UNKNOWN | SYBR | None | [6 empty] | 23.7885
154 | G4 | FALSE | 5 | GENE6 | UNKNOWN | SYBR | None | [6 empty] | 22.6439
155 | G5 | FALSE | 5 | GENE6 | UNKNOWN | SYBR | None | [6 empty] | 21.7226
156 | G6 | FALSE | 5 | GENE6 | UNKNOWN | SYBR | None | [6 empty] | 22.4728
157 | G7 | FALSE | 6 | GENE6 | UNKNOWN | SYBR | None | [6 empty] | 22.3301
158 | G8 | FALSE | 6 | GENE6 | UNKNOWN | SYBR | None | [6 empty] | 23.65
159 | G9 | FALSE | 6 | GENE6 | UNKNOWN | SYBR | None | [6 empty] | 19.6077
160 | G10 | FALSE | 7 | GENE6 | UNKNOWN | SYBR | None | [6 empty] | 22.0614
161 | G11 | FALSE | 7 | GENE6 | UNKNOWN | SYBR | None | [6 empty] | 23.7234
162 | G12 | FALSE | 7 | GENE6 | UNKNOWN | SYBR | None | [6 empty] | 21.4088
163 | G13 | FALSE | 8 | GENE6 | UNKNOWN | SYBR | None | [6 empty] | 23.6458
164 | G14 | FALSE | 8 | GENE6 | UNKNOWN | SYBR | None | [6 empty] | 23.328
165 | G15 | FALSE | 8 | GENE6 | UNKNOWN | SYBR | None | [6 empty] | 21.4517
166 | G16 | FALSE | 9 | GENE6 | UNKNOWN | SYBR | None | [6 empty] | 23.7885
167 | G17 | FALSE | 9 | GENE6 | UNKNOWN | SYBR | None | [6 empty] | 22.6439
169 | G18 | FALSE | 9 | GENE6 | UNKNOWN | SYBR | None | [6 empty] | 22.3301
Analysis Type | Singleplex
Endogenous Control
RQ Min/Max Confidence Level | 95.0
Reference Sample | 1

## Melt Curve Raw Data
Block Type
Calibration Background is expired
Calibration Background performed on
Calibration FAM is expired
Calibration FAM performed on
Calibration NED is expired
Calibration NED performed on
Calibration ROI is expired
Calibration ROI performed on
Calibration ROX is expired
Calibration ROX performed on
Calibration SYBR is expired
Calibration SYBR performed on
Calibration TAMRA is expired
Calibration TAMRA performed on
Calibration Uniformity is expired
Calibration Uniformity performed on
Calibration VIC is expired
Calibration VIC performed on
Chemistry
Experiment Barcode
Experiment Comments
Experiment File Name
Experiment Name
Experiment Run End Time
Experiment Type
Experiment User Name
Instrument Name
Instrument Serial Number
Instrument Type
Passive Reference
Quantification Cycle Method
Signal Smoothing On
Stage/ Cycle where Analysis is performed
Well | Well Position | Reading | Temperature | Fluorescence | Derivative
1 | A1 | 1 | 60.1925 | 0.0073815 | 0.0045897
1 | A1 | 2 | 60.4607 | 0.0078978 | 0.0043555
1 | A1 | 3 | 60.729 | 0.0077512 | 0.0042076
1 | A1 | 4 | 60.9972 | 0.0073442 | 0.0042013
1 | A1 | 5 | 61.2654 | 0.0078453 | 0.0043482
1 | A1 | 6 | 61.5336 | 0.0071065 | 0.0046164
1 | A1 | 7 | 61.8019 | 0.0071266 | 0.0049499
1 | A1 | 8 | 62.0701 | 0.006363 | 0.0052916
1 | A1 | 9 | 62.3383 | 0.0069738 | 0.0055956
1 | A1 | 10 | 62.6065 | 0.0060428 | 0.0058266
1 | A1 | 11 | 62.8748 | 0.0059741 | 0.0059564
1 | A1 | 12 | 63.143 | 0.0055866 | 0.0059655
1 | A1 | 13 | 63.4112 | 0.0052442 | 0.005853
1 | A1 | 14 | 63.6794 | 0.0053908 | 0.0056489
1 | A1 | 15 | 63.9477 | 0.0043198 | 0.0054162
1 | A1 | 16 | 64.2159 | 0.0043497 | 0.0052347
1 | A1 | 17 | 64.4841 | 0.0045459 | 0.0051666
1 | A1 | 18 | 64.7523 | 0.0043889 | 0.0052218
1 | A1 | 19 | 65.0206 | 0.0037601 | 0.0053431
1 | A1 | 20 | 65.2888 | 0.0040398 | 0.0054255
1 | A1 | 21 | 65.557 | 0.0033163 | 0.0053572
1 | A1 | 22 | 65.8252 | 0.0027424 | 0.0050615
1 | A1 | 23 | 66.0935 | 0.0025983 | 0.0045242
1 | A1 | 24 | 66.3617 | 0.0032692 | 0.003803
1 | A1 | 25 | 66.6299 | 0.0019454 | 0.0030227
1 | A1 | 26 | 66.8981 | 0.0016002 | 0.0023484
1 | A1 | 27 | 67.1664 | 0.0025444 | 0.001934
1 | A1 | 28 | 67.4346 | 0.0024489 | 0.0018578
1 | A1 | 29 | 67.7028 | 0.0026239 | 0.0020823
1 | A1 | 30 | 67.971 | 0.002455 | 0.002471
1 | A1 | 31 | 68.2393 | 0.0018735 | 0.0028581
1 | A1 | 32 | 68.5075 | 0.0017607 | 0.0031263
1 | A1 | 33 | 68.7757 | 0.0014171 | 0.003243
1 | A1 | 34 | 69.0439 | 0.0013848 | 0.0032401
1 | A1 | 35 | 69.3122 | 0.001687 | 0.0031648
1 | A1 | 36 | 69.5804 | 0.0014263 | 0.0030455
1 | A1 | 37 | 69.8486 | 0.00062735 | 0.0028947
1 | A1 | 38 | 70.1168 | 0.00087279 | 0.0027345
1 | A1 | 39 | 70.3851 | 0.0011794 | 0.0026116
1 | A1 | 40 | 70.6533 | 3.9225e-05 | 0.0025821
1 | A1 | 41 | 70.9215 | 0.00083134 | 0.0026757
1 | A1 | 42 | 71.1897 | 0.0011851 | 0.0028692
1 | A1 | 43 | 71.458 | 0.00028499 | 0.0030926
1 | A1 | 44 | 71.7262 | -0.00010822 | 0.0032621
1 | A1 | 45 | 71.9944 | 6.6555e-05 | 0.003312
1 | A1 | 46 | 72.2626 | -0.00021233 | 0.0032062
1 | A1 | 47 | 72.5309 | -0.00023489 | 0.002933
1 | A1 | 48 | 72.7991 | -0.00012531 | 0.002509
1 | A1 | 49 | 73.0673 | -0.00082711 | 0.0019972
1 | A1 | 50 | 73.3355 | -0.001296 | 0.0015177
1 | A1 | 51 | 73.6038 | -0.00081273 | 0.0012198
1 | A1 | 52 | 73.872 | -0.0002981 | 0.0012153
1 | A1 | 53 | 74.1402 | -0.00015372 | 0.0015145
1 | A1 | 54 | 74.4084 | -0.00064785 | 0.002011
1 | A1 | 55 | 74.6767 | -0.00071952 | 0.0025286
1 | A1 | 56 | 74.9449 | -0.0014908 | 0.0028975
1 | A1 | 57 | 75.2131 | -0.0008806 | 0.0030146
1 | A1 | 58 | 75.4814 | -0.0012729 | 0.0028668
1 | A1 | 59 | 75.7496 | -0.0017844 | 0.0025225
1 | A1 | 60 | 76.0178 | -0.0022644 | 0.0021043
1 | A1 | 61 | 76.286 | -0.0011762 | 0.001751
1 | A1 | 62 | 76.5543 | -0.0017301 | 0.0015734
1 | A1 | 63 | 76.8225 | -0.0021301 | 0.0016146
1 | A1 | 64 | 77.0907 | -0.0014694 | 0.0018311
1 | A1 | 65 | 77.3589 | -0.0014505 | 0.0021095
1 | A1 | 66 | 77.6272 | -0.0021144 | 0.0023167
1 | A1 | 67 | 77.8954 | -0.0023832 | 0.0023617
1 | A1 | 68 | 78.1636 | -0.0025181 | 0.0022344
1 | A1 | 69 | 78.4318 | -0.002726 | 0.0020001
1 | A1 | 70 | 78.7001 | -0.002258 | 0.0017537
1 | A1 | 71 | 78.9683 | -0.002324 | 0.0015704
1 | A1 | 72 | 79.2365 | -0.0026719 | 0.0014824
1 | A1 | 73 | 79.5047 | -0.0028913 | 0.0014879
1 | A1 | 74 | 79.773 | -0.0026481 | 0.0015714
1 | A1 | 75 | 80.0412 | -0.002815 | 0.0017131
1 | A1 | 76 | 80.3094 | -0.0026183 | 0.0018827
1 | A1 | 77 | 80.5776 | -0.0029206 | 0.0020326
1 | A1 | 78 | 80.8459 | -0.0034232 | 0.0021034
1 | A1 | 79 | 81.1141 | -0.0028787 | 0.0020433
1 | A1 | 80 | 81.3823 | -0.0032504 | 0.0018306
1 | A1 | 81 | 81.6505 | -0.0040704 | 0.001488
1 | A1 | 82 | 81.9188 | -0.0031687 | 0.0010835
1 | A1 | 83 | 82.187 | -0.0034216 | 0.00071522
1 | A1 | 84 | 82.4552 | -0.0040555 | 0.00048416
1 | A1 | 85 | 82.7234 | -0.0028451 | 0.00046047
1 | A1 | 86 | 82.9917 | -0.0040484 | 0.00065271
1 | A1 | 87 | 83.2599 | -0.0026442 | 0.00099467
1 | A1 | 88 | 83.5281 | -0.0035679 | 0.0013618
1 | A1 | 89 | 83.7963 | -0.0035824 | 0.0016165
1 | A1 | 90 | 84.0646 | -0.0041961 | 0.0016648
1 | A1 | 91 | 84.3328 | -0.0038783 | 0.0014966
1 | A1 | 92 | 84.601 | -0.0038225 | 0.00119
1 | A1 | 93 | 84.8692 | -0.0044592 | 0.00087882
1 | A1 | 94 | 85.1375 | -0.0038892 | 0.00069677
1 | A1 | 95 | 85.4057 | -0.0039846 | 0.00072127
1 | A1 | 96 | 85.6739 | -0.0034184 | 0.00094093
1 | A1 | 97 | 85.9421 | -0.0039916 | 0.0012626
1 | A1 | 98 | 86.2104 | -0.0044148 | 0.001557
1 | A1 | 99 | 86.4786 | -0.0039543 | 0.0017196
1 | A1 | 100 | 86.7468 | -0.0046582 | 0.0017161
1 | A1 | 101 | 87.015 | -0.0047928 | 0.0015867
1 | A1 | 102 | 87.2833 | -0.0040202 | 0.0014132
1 | A1 | 103 | 87.5515 | -0.0047455 | 0.0012698
1 | A1 | 104 | 87.8197 | -0.004634 | 0.001188
1 | A1 | 105 | 88.088 | -0.0044711 | 0.0011536
1 | A1 | 106 | 88.3562 | -0.0046993 | 0.0011326
1 | A1 | 107 | 88.6244 | -0.0050991 | 0.0011039
1 | A1 | 108 | 88.8926 | -0.0048232 | 0.0010767
1 | A1 | 109 | 89.1609 | -0.004642 | 0.0010791
1 | A1 | 110 | 89.4291 | -0.0049919 | 0.0011311
1 | A1 | 111 | 89.6973 | -0.0046448 | 0.0012251
1 | A1 | 112 | 89.9655 | -0.0050615 | 0.0013315
1 | A1 | 113 | 90.2337 | -0.0055479 | 0.0014218
1 | A1 | 114 | 90.502 | -0.004929 | 0.0014865
1 | A1 | 115 | 90.7702 | -0.0050537 | 0.0015342
1 | A1 | 116 | 91.0384 | -0.005176 | 0.0015806
1 | A1 | 117 | 91.3067 | -0.0055216 | 0.001644
1 | A1 | 118 | 91.5749 | -0.0058829 | 0.0017481
1 | A1 | 119 | 91.8431 | -0.0054566 | 0.0019124
1 | A1 | 120 | 92.1113 | -0.0049728 | 0.0021236
1 | A1 | 121 | 92.3796 | -0.0056125 | 0.0023157
1 | A1 | 122 | 92.6478 | -0.0063352 | 0.0023905
1 | A1 | 123 | 92.916 | -0.0064248 | 0.0022781
1 | A1 | 124 | 93.1842 | -0.0060997 | 0.0019868
1 | A1 | 125 | 93.4525 | -0.006349 | 0.0015984
1 | A1 | 126 | 93.7207 | -0.0056425 | 0.0012099
1 | A1 | 127 | 93.9889 | -0.006143 | 0.00087556
1 | A1 | 128 | 94.2571 | -0.006931 | 0.00059549
1 | A1 | 129 | 94.5254 | -0.0059464 | 0.00034833
1 | A1 | 130 | 94.7936 | -0.0063919 | 0.00012856
2 | A2 | 1 | 60.1925 | 0.17887 | 0.012564
2 | A2 | 2 | 60.4607 | 0.17823 | 0.012454
2 | A2 | 3 | 60.729 | 0.1771 | 0.012302
2 | A2 | 4 | 60.9972 | 0.17589 | 0.012127
2 | A2 | 5 | 61.2654 | 0.17496 | 0.011958
2 | A2 | 6 | 61.5336 | 0.17421 | 0.011821
2 | A2 | 7 | 61.8019 | 0.17303 | 0.011746
2 | A2 | 8 | 62.0701 | 0.17146 | 0.011777
2 | A2 | 9 | 62.3383 | 0.17009 | 0.01196
2 | A2 | 10 | 62.6065 | 0.16954 | 0.012312
2 | A2 | 11 | 62.8748 | 0.16976 | 0.012796
2 | A2 | 12 | 63.143 | 0.16771 | 0.013309
2 | A2 | 13 | 63.4112 | 0.16596 | 0.01373
2 | A2 | 14 | 63.6794 | 0.16387 | 0.013975
2 | A2 | 15 | 63.9477 | 0.16329 | 0.01404
2 | A2 | 16 | 64.2159 | 0.16168 | 0.013997
2 | A2 | 17 | 64.4841 | 0.16045 | 0.013947
2 | A2 | 18 | 64.7523 | 0.15943 | 0.013964
2 | A2 | 19 | 65.0206 | 0.15831 | 0.014071
2 | A2 | 20 | 65.2888 | 0.15706 | 0.014241
2 | A2 | 21 | 65.557 | 0.1557 | 0.014432
2 | A2 | 22 | 65.8252 | 0.15323 | 0.014617
2 | A2 | 23 | 66.0935 | 0.15278 | 0.014794
2 | A2 | 24 | 66.3617 | 0.1513 | 0.014972
2 | A2 | 25 | 66.6299 | 0.15032 | 0.015143
2 | A2 | 26 | 66.8981 | 0.14843 | 0.015271
2 | A2 | 27 | 67.1664 | 0.14661 | 0.015304
2 | A2 | 28 | 67.4346 | 0.14586 | 0.015207
2 | A2 | 29 | 67.7028 | 0.14377 | 0.014985
2 | A2 | 30 | 67.971 | 0.14225 | 0.014688
2 | A2 | 31 | 68.2393 | 0.14082 | 0.014392
2 | A2 | 32 | 68.5075 | 0.14021 | 0.014161
2 | A2 | 33 | 68.7757 | 0.13934 | 0.014022
2 | A2 | 34 | 69.0439 | 0.13771 | 0.013966
2 | A2 | 35 | 69.3122 | 0.13528 | 0.013969
2 | A2 | 36 | 69.5804 | 0.1351 | 0.01401
2 | A2 | 37 | 69.8486 | 0.13358 | 0.014078
2 | A2 | 38 | 70.1168 | 0.13218 | 0.014161
2 | A2 | 39 | 70.3851 | 0.13131 | 0.014238
2 | A2 | 40 | 70.6533 | 0.12939 | 0.014275
2 | A2 | 41 | 70.9215 | 0.12798 | 0.014245
2 | A2 | 42 | 71.1897 | 0.12681 | 0.014139
2 | A2 | 43 | 71.458 | 0.12529 | 0.013969
2 | A2 | 44 | 71.7262 | 0.1246 | 0.013769
2 | A2 | 45 | 71.9944 | 0.12216 | 0.013584
2 | A2 | 46 | 72.2626 | 0.12187 | 0.013462
2 | A2 | 47 | 72.5309 | 0.12065 | 0.013441
2 | A2 | 48 | 72.7991 | 0.11888 | 0.013531
2 | A2 | 49 | 73.0673 | 0.11853 | 0.013702
2 | A2 | 50 | 73.3355 | 0.11694 | 0.013897
2 | A2 | 51 | 73.6038 | 0.11538 | 0.014049
2 | A2 | 52 | 73.872 | 0.11367 | 0.01411
2 | A2 | 53 | 74.1402 | 0.11242 | 0.01407
2 | A2 | 54 | 74.4084 | 0.11139 | 0.013945
2 | A2 | 55 | 74.6767 | 0.11014 | 0.013769
2 | A2 | 56 | 74.9449 | 0.10848 | 0.013576
2 | A2 | 57 | 75.2131 | 0.10759 | 0.013395
2 | A2 | 58 | 75.4814 | 0.10583 | 0.013256
2 | A2 | 59 | 75.7496 | 0.10496 | 0.013182
2 | A2 | 60 | 76.0178 | 0.10408 | 0.013179
2 | A2 | 61 | 76.286 | 0.10262 | 0.013229
2 | A2 | 62 | 76.5543 | 0.10166 | 0.013294
2 | A2 | 63 | 76.8225 | 0.099952 | 0.013333
2 | A2 | 64 | 77.0907 | 0.098537 | 0.013322
2 | A2 | 65 | 77.3589 | 0.097469 | 0.013259
2 | A2 | 66 | 77.6272 | 0.096607 | 0.013158
2 | A2 | 67 | 77.8954 | 0.095032 | 0.013034
2 | A2 | 68 | 78.1636 | 0.093973 | 0.0129
2 | A2 | 69 | 78.4318 | 0.092296 | 0.012764
2 | A2 | 70 | 78.7001 | 0.091837 | 0.012636
2 | A2 | 71 | 78.9683 | 0.090052 | 0.012527
2 | A2 | 72 | 79.2365 | 0.088756 | 0.012443
2 | A2 | 73 | 79.5047 | 0.088884 | 0.012379
2 | A2 | 74 | 79.773 | 0.086722 | 0.012323
2 | A2 | 75 | 80.0412 | 0.085088 | 0.01227
2 | A2 | 76 | 80.3094 | 0.084664 | 0.012228
2 | A2 | 77 | 80.5776 | 0.083652 | 0.012226
2 | A2 | 78 | 80.8459 | 0.082343 | 0.012306
2 | A2 | 79 | 81.1141 | 0.080585 | 0.012514
2 | A2 | 80 | 81.3823 | 0.08067 | 0.012903
2 | A2 | 81 | 81.6505 | 0.079008 | 0.013557
2 | A2 | 82 | 81.9188 | 0.077888 | 0.014626
2 | A2 | 83 | 82.187 | 0.076134 | 0.016373
2 | A2 | 84 | 82.4552 | 0.074577 | 0.019182
2 | A2 | 85 | 82.7234 | 0.074263 | 0.023508
2 | A2 | 86 | 82.9917 | 0.072474 | 0.029724
2 | A2 | 87 | 83.2599 | 0.070317 | 0.037895
2 | A2 | 88 | 83.5281 | 0.067762 | 0.047536
2 | A2 | 89 | 83.7963 | 0.063547 | 0.057473
2 | A2 | 90 | 84.0646 | 0.057892 | 0.065949
2 | A2 | 91 | 84.3328 | 0.047804 | 0.071049
2 | A2 | 92 | 84.601 | 0.032629 | 0.071327
2 | A2 | 93 | 84.8692 | 0.020688 | 0.066388
2 | A2 | 94 | 85.1375 | 0.014888 | 0.057093
2 | A2 | 95 | 85.4057 | 0.013203 | 0.045281
2 | A2 | 96 | 85.6739 | 0.012407 | 0.03311
2 | A2 | 97 | 85.9421 | 0.013015 | 0.022373
2 | A2 | 98 | 86.2104 | 0.012316 | 0.01408
2 | A2 | 99 | 86.4786 | 0.012732 | 0.0084137
2 | A2 | 100 | 86.7468 | 0.012687 | 0.0049834
2 | A2 | 101 | 87.015 | 0.01155 | 0.0031548
2 | A2 | 102 | 87.2833 | 0.012308 | 0.0023155
2 | A2 | 103 | 87.5515 | 0.012206 | 0.0020036
2 | A2 | 104 | 87.8197 | 0.011694 | 0.0019247
2 | A2 | 105 | 88.088 | 0.011008 | 0.0019167
2 | A2 | 106 | 88.3562 | 0.011759 | 0.0019073
2 | A2 | 107 | 88.6244 | 0.010833 | 0.00188
2 | A2 | 108 | 88.8926 | 0.010634 | 0.0018435
2 | A2 | 109 | 89.1609 | 0.011163 | 0.0018036
2 | A2 | 110 | 89.4291 | 0.011018 | 0.0017475
2 | A2 | 111 | 89.6973 | 0.010368 | 0.0016521
2 | A2 | 112 | 89.9655 | 0.0093263 | 0.0015133
2 | A2 | 113 | 90.2337 | 0.010128 | 0.0013705
2 | A2 | 114 | 90.502 | 0.01035 | 0.001298
2 | A2 | 115 | 90.7702 | 0.0106 | 0.0013626
2 | A2 | 116 | 91.0384 | 0.010255 | 0.0015773
2 | A2 | 117 | 91.3067 | 0.009538 | 0.0018887
2 | A2 | 118 | 91.5749 | 0.009446 | 0.0022056
2 | A2 | 119 | 91.8431 | 0.0092279 | 0.0024468
2 | A2 | 120 | 92.1113 | 0.0088512 | 0.0025751
2 | A2 | 121 | 92.3796 | 0.0084901 | 0.0025998
2 | A2 | 122 | 92.6478 | 0.0082543 | 0.002555
2 | A2 | 123 | 92.916 | 0.0086273 | 0.0024726
2 | A2 | 124 | 93.1842 | 0.0079342 | 0.0023675
2 | A2 | 125 | 93.4525 | 0.0077878 | 0.0022394
2 | A2 | 126 | 93.7207 | 0.006698 | 0.0020833
2 | A2 | 127 | 93.9889 | 0.0077812 | 0.0018959
2 | A2 | 128 | 94.2571 | 0.0077957 | 0.0016732
2 | A2 | 129 | 94.5254 | 0.006874 | 0.0014092
2 | A2 | 130 | 94.7936 | 0.006013 | 0.0011032